2D DIGE

Kathryn S. Lilley

Cambridge Centre for Proteomics

Department of  Biochemistry

University of Cambridge

UK

Keywords: DIGE, 2D PAGE, minimal CyDyes, saturation CyDyes

Abstract

Two-dimensional polyacrylamide gel electrophoresis (2D PAGE) has been the workhorse of proteomics allowing the resolution of  several thousand proteins in a single sample.  The limitations of this technique has been low sensitivity, reduced dynamic range and gel to gel variability. Difference gel electrophoresis (DIGE) circumvents these  issues associated with traditional 2D PAGE and allows more accurate and sensitive quantitative proteomics studies

Two-dimensional polyacrylamide gel electrophoresis (2D PAGE) has been widely used over the past four decades to resolve several thousand proteins in a single sample. This has enabled identification of the major proteins in a tissue or sub-cellular fraction by mass spectrometric methods. In addition, 2D PAGE has been used to compare relative abundances of proteins in related samples, such as mutant and wild type or control and diseased, allowing the response of classes of proteins to be determined. To date, the majority of comparative protein profiling studies have produced qualitative data, which have enabled the investigator to determine whether or not a particular protein shows an increase or decrease in expression. This provides no measure of the extent of this change in expression, therefore it is unsuitable for clustered data analysis needed for an insight into functionality. Quantitative proteomics allows co-expression patterns to be studied, and proteins showing similar expression trends may be assigned membership of the same functional groups; however, quantitation has been hampered by several factors. Firstly, silver staining, being more sensitive than Coomassie staining methods, has been widely used for high sensitivity protein visualisation on 2D PAGE, but it is unsuitable for quantitative analysis, as it has a limited dynamic range. The most sensitive silver staining methods are also incompatible with protein identification methods based on mass spectrometry. More recently, the Sypro family of post-electrophoretic fluorescent stains (Molecular Probes, Eugene, Oregon, USA) have emerged as alternatives, offering a better dynamic range than silver staining, and ease of use (Malone, Radabaugh et al. 2001). Another problem is the irreproducibility of 2D gels; no two gels run identically and corresponding spots between  two gels have to be matched prior to quantification. Finally, normalisation has proved challenging, especially in the case of silver staining where staining is protein dependent. These aforementioned factors all add variability to the system which makes it unsuitable for the accurate quantitation.

Difference gel electrophoresis (DIGE) circumvents many of the issues associated with traditional 2D PAGE, such as gel to gel variation and limited dynamic range, and allows more accurate and sensitive quantitative proteomics studies. This mini-review is an overview of this technique describing its strengths and limitations.

The DIGE technique was first described some time ago by Jon Minden’s laboratory (Ünlü, Morgan et al. 1997) and is now available as a technique from Amersham Biosciences. This technique relies on pre-electrophoretic labelling of samples with one of three spectrally resolvable fluorescent CyDyes (Cy2, Cy3, and Cy5) allowing multiplexing of samples into the same gel. There are currently two types of CyDye labelling chemistries available from Amersham Biosciences.

Minimal Labeling

The most established is the ‘minimal labeling’ method which has been available from this supplier since July 2002.  Here, the CyDyes are supplied with a N-hydroxy succinimidyl ester group which reacts with the epsilon amino group of lysine side chains. Labeling reactions are engineered such that the stoichiometry of protein to fluor results in only 2-5% of the total number of lysine residues being labelled. It is imperative to keep a low dye:protein ratio to avoid multiple dye additions, as these would result in multiple spots being resolved in the second dimension of the DIGE gel. The typically high lysine content of most proteins makes it challenging to force the labelling reaction to saturation without using excessive amounts of reagent. The fluors carry an intrinsic charge of +1, such that the pI of the protein is preserved upon labeling. The three fluors are also mass matched, each labeling event adding approximately 500 Da to the mass of the protein. Labeling with CyDye DIGE Fluors is very sensitive with a detection limit of around 500 pg of a single protein, and a linear response in protein concentration over at least five orders of magnitude. In comparison, the limit of detection with silver stain is in the region of 1ng of protein with a dynamic range of no more than two orders of magnitude (Lilley, Razzaq et al. 2002) (Tonge, Shaw et al. 2001). The labeling system is compatible with the downstream processing commonly used to identify proteins, which involves the generation of tryptic peptides.  Trypsin cleaves the peptide bonds the C-terminal side of lysine and arginine residues, but, as so few lysine residues are modified by dye labelling peptide generation is largely unhindered. It is also unlikely that a peptide modified with a CyDye DIGE Fluor would be extracted from a gel piece, hence interference by the fluors in peptide mass fingerprinting and de novo sequencing mass spectrometric techniques is minimal. A drawback of this minimal labelling system is the fact that the majority of the protein within a sample remains unlabelled and, in the case of smaller molecular weight species, the labelled portion of the protein may migrate to a slightly different position on a 2D gel.  To ensure that the maximum amount of protein is excised for downstream processing, minimally labelled DIGE gels are often post-stained with a total protein stain such as SyproRuby.

Saturation Labelling

The second more recent chemistry was released by Amersham Biosciences in July 2003 and is designed for use in situations where sample abundance is limited.  This differs from the original N-hydroxy succinimidyl chemistry in that CyDyes with no intrinsic charge are supplied with a thiol reactive maleimide group. These ‘saturation’ dyes are utilised in such a way to bring about labelling of every cysteine residues within a protein. The saturation labelling is much more sensitive as more fluorophor is introduced into each protein species, Shaw et al reporting an order of magnitude increase in sensitivity over the original minimal dyes (Shaw, Rowlinson et al. 2003).  Whilst the added sensitivity that these dyes provide is desirable, their use is technically more challenging.  The reaction conditions have to be carefully optimised for each type of sample to ensure complete reduction of cysteine residues and a protein:dye ratio sufficient for stoichiometric labelling.  Sub-stoichiometric labelling will lead to multiple spots in the second dimension, whereas the use of too much dye may lead to unwanted addition reactions with lysine residues, resulting in the formation of charge trains in the first dimension.  It is also impossible to compare the 2D spot maps between samples labelled with the two chemistries. Proteins containing multiple cysteine residues may appear as larger molecular weight species when labelled with the saturation dyes.   For studies where identification by mass spectrometric techniques is required, a preparative gel with increased protein loading will be required to produce a 2D protein map.  In situations where the amount of sample is very small this technique at best can be considered of diagnostic value. The use of these saturation dyes is not well established and the maleimide dyes are currently only available for Cy3 and Cy5.

Experimental design

DIGE is a particularly powerful approach to study the changes in protein abundance in experimental studies involving comparison of multiple samples. In such studies involving the use of minimal dyes, it is desirable to label samples with either Cy3 or Cy5 minimal dyes, whereas Cy2 is used to label a pooled sample comprising equal amounts of each of the samples within the study, and acts as an internal standard (see figure 1).  This ensures that all proteins present in the samples are represented, allowing both inter- and intra-gel matching. Variation in spot volumes due to gel-specific experimental factors, for example protein loss during sample entry into the immobilized pH gradient strip, will be the same for each sample within a single gel. Consequently, the relative amount of a protein in a gel in one sample compared with another will be unaffected.  The spot volumes are normalized for dye discrepancy, arising from differences in laser intensities, fluorescence, and filter transmittance, using a method based on the assumption that the majority of protein spots have not changed in expression level (Alban, David et al. 2003). The spot volumes from the labelled samples are compared to the internal standard giving standardised abundances, which allows the variation in spot running success to be taken into consideration. For the analysis, software developed for the DIGE system (DeCyderTM by Amersham Bioscience, Sweden) is typically used. This software has a co-detection algorithm that simultaneously detects labelled protein spots from images that arise from the same gel and increases accuracy in the quantification of standardized abundance (Alban, David et al. 2003). The standardised abundances can then be compared across groups to detect changes in protein expression. In the case of the saturation dyes, where a Cy2 label is not available, the internal standard is labelled with one of the dyes and individual samples appear on separate gels labelled with the other dyes. This approach reduces the extent of multiplexing and increases the number of gels within a comparative experiment. (Shaw, Rowlinson et al. 2003)

The design of a protein profiling analysis experiment using DIGE is crucial to the amount of statistical significance that can be placed on the data . Consideration must be given to methods employed to assess both biological and experimental noise within the system being studied and ample biological and technical replicates must be processed. It is essential to measure the experimental variation in the DIGE process for any new set of samples. This can be achieved by running sets of gels where the same sample is labelled with all dyes to be used, loaded onto one gel and fully analysed. This will also give an indication of the inherent error of the system and suggest the threshold of significance or a fold change above which true changes in expression can be measured. In the case of the minimal dyes, a system bias at low spot volumes is observed owing to the different fluorescence characteristics of acrylamide at the different wavelengths of excitation for Cy2, Cy3 and Cy5. This system bias can be greatly reduced by employing a dye swap approach; several replicate gels are run where each sample appears with the opposite labelling, i.e. gel 1 would contain pooled sample in Cy2 channel, wild type in Cy3 channel and mutant in Cy5; gel 2 would contain pooled sample Cy2 channel, mutant in the Cy3 channel and wild type in Cy5 channel) (Karp, Kreil et al. 2004). The multi-gel approach allows many data points to be collected for each group to be compared. Spots of interest can be selected by looking for significant change across the groups, for example, with a univariate statistical test e.g. Student’s t-test or analysis of variance (ANOVA). These give a probability score (p) for each spot.  This score indicates the probability that the groups are the same, consequently a spot with a low score, for example, p < 0.05, represents significant difference in elative abundance. The number of replicates required in a study depends on the amount of variation in the system being investigated, and on how small the changes in expression are that you wish to measure at a given confidence level. Increasing the number of replicates will increase confidence in smaller changes in expression

Drawbacks of the system

Regardless of the benefits of DIGE, the 2D PAGE process itself has some limitations.  For global expression analysis, every protein should be resolved as a discrete detectable spot, The following groups of proteins however, are often poorly represented: those with extreme isoelectric points (pI) or molecular weight; hydrophobic proteins; lower abundance proteins. It has been calculated that somewhere in the region of 90% of the total protein of a typical cell is made up of only 10% of the 10 000-20 000 different species, and hence many low abundance proteins may not be detectable (Zuo, Echan et al. 2001).  Co-migration is also an issue, with proteins of similar pI and denatured molecular weight becoming focused at the same position of the gel. This makes it impossible to accurately determine the relative abundance of an individual protein within a mixed spot.    There continues to be improvements to the 2D PAGE technique, however.  Enhanced resolution of protein species can be achieved by the use of narrow range immobilised pH gradient (IPG) strips and/or pre-fractionation of sample; these  greatly improve the chance of identification and assignment of function to scarce species (Tonella, Hoogland et al. 2001).  Membrane proteins remain a problem. The use of more rigorous detergents such as amidosulphobetaine 14 (ASB14) has increased the number of membrane-associated proteins which can be resolved by 2D PAGE (Santoni, Molloy et al. 2000). In the case of studies involving integral membrane proteins, a 2D PAGE approach should be avoided and differential isotopic labelling strategies involving solution digestion to peptides employed (Li, Steen et al. 2003).

One of the main criticisms of DIGE is the financial outlay necessary to install the system in a laboratory.  An appropriate scanning system and dedicated software are required and the cost of CyDyes necessary for large scale studies is not trivial.

Applications of DIGE

To date, the DIGE technology has been used with great success to study a variety of systems, allowing the detection of more subtle changes in protein expression than conventional methods where separate samples are loaded onto each gel (Gade, Thiermann et al. 2003); these  include breast cancer cells (Gharbi, Gaffney et al. 2002), cat brain (Bergh, Clerens et al. 2003), esophogeal cancer cells (Zhou, Ranish et al. 2002), yeast (Hu, Wang et al. 2003), chloroplast (Kubis, Baldwin et al. 2003), GPI-anchored proteins (Borner, Lilley et al. 2003),  murine mitochondria (Kernec, Unlu et al. 2001), mouse brain (Skynner, Rosahl et al. 2002) and  rat heart (Sakai, Ishikawa et al. 2003), although as yet there is a dearth of publications where the internal standard system is used. Knowles et al (Knowles, Cervino et al. 2003) have described a significant increase in the accuracy of determination of differential protein expression using the Cy2-labelled internal standard approach. They compared the relative abundances of proteins in cerebral cortex from wild-type mice and neurokinin 1 receptor knockout mice, to elucidate molecular pathways involving this protein.   They also compared relative abundances and significance values for differentially expressed spots derived from gels incorporating the pooled Cy2-labelled standard, with values derived from the same gels but without normalising spot volumes to the corresponding pooled standard.  They demonstrated that virtually all differentially expressed spots gave lower significance levels and a higher incidence of false positives when derived without using the pooled standard for normalisation.  The authors reported being able to measure as little as 10% change in abundance with 95% confidence (p < 0.05).

In conclusion, 2D DIGE is the most powerful 2D PAGE-based approach for widespread  protein profiling studies by virtue of the ability to multiplex and link samples across numerous different gels in a study using an internal standard. This approach also gives information about more subtle changes in protein expression than conventional 2D PAGE. The advent of the saturation dyes has increased the sensitivity of this system. The use of 2D DIGE, however, will not result in a global analysis of a proteome as membrane proteins and proteins with extremes of pI and molecular weight will be poorly represented.  In this respect other quantitative techniques such as differential labelling with stable isotope can be considered to be complementary.

Figure 1

Schematic outline of a 2D DIGE study using an internal pooled standard constructed from equal amounts of all the samples in the study, labelled with Cy2. Samples 1 and 2 are labelled with either Cy3 or Cy5.  Each 2D gel performed within the study will have the sample Cy2 standard, combined with the Cy3 and Cy5 labelled samples prior to electrophoresis.   The spot intensities from samples 1 and 2 can be normalised using the corresponding Cy2 spot intensities. This approach allows the measurement of more subtle protein expressional differences with increased statistical confidence.

Alban, A., David, S. O., et al. (2003). “A novel experimental design for comparative two-dimensional gel analysis: Two-dimensional difference gel electrophoresis incorporating a pooled internal standard.” Proteomics 3(1): 36-44.

Bergh, G. V. D., Clerens, S., et al. (2003). “Reversed-phase high-performance liquid chromatography prefractionation prior to two-dimensional difference gel electrophoresis and mass spectrometry identifies new differentially expressed proteins between striate cortex of kitten and adult cat.” Electrophoresis 24(9): 1471-1481.

Borner, G. H. H., Lilley, K. S., et al. (2003). “Identification of glycosylphosphatidylinositol-anchored proteins in Arabidopsis. A proteomic and genomic analysis.” Plant Physiol. 132(2): 568-577.

Gade, D., Thiermann, J., et al. (2003). “Evaluation of two-dimensional difference gel electrophoresis for protein profiling. Soluble protiens of the marine bacterium Pirellula sp. strain 1.” J Mol Microbiol Biotechnol. 5(4): 240-251.

Gharbi, S., Gaffney, P., et al. (2002). “ Evaluation of two-dimensional differential gel electrophoresis for proteomic expression analysis of a model breast cancer cell system.” Mol Cell Proteomics 1(2): 91-98.

Hu, Y., Wang, G., et al. (2003). “Proteome analysis of Saccharomyces cerevisiae under metal stress by two-dimensional differential gel electrophoresis.” Electrophoresis 24(9): 1458-1470.

Karp, N., Kreil, D., et al. (2004). “Determining a significant change in protein expression with DeCyderTM during a pair-wise comparison using two-dimensional difference gel electrophoresis.” Proteomics 4(5): In press.

Kernec, F., Unlu, M., et al. (2001). “Changes in the mitochondrial proteome from mouse hearts deficient in creatine kinase.” Physiol. Genomics 6(2): 117-128.

Knowles, M. R., Cervino, S., et al. (2003). “Multiplex proteomic analysis by two-dimensional differential in-gel electrophoresis.” Proteomics 3(7): 1162-71.

Kubis, S., Baldwin, A., et al. (2003). “The Arabidopsis ppi1 mutant is specifically defective in the expression, chloroplast import, and accumulation of photosynthetic proteins.” Plant Cell 15(8): 1859-1871.

Li, J., Steen, H., et al. (2003). “Protein Profiling with Cleavable Isotope-coded Affinity Tag (cICAT) Reagents: The Yeast Salinity Stress Response.” Mol Cell Proteomics 2(11): 1198-204.

Lilley, K. S., Razzaq, A., et al. (2002). “Two-dimensional gel electrophoresis: recent advances in sample preparation, detection and quantitation.” Curr Opin Chem Biol 6(1): 46-50.

Malone, J., Radabaugh, M., et al. (2001). “Practical aspects of fluorescent staining for proteomics applications.” Electrophoresis 22: 919-932.

Sakai, J., Ishikawa, H., et al. (2003). “Proteomic analysis of rat heart in ischemia and ischemia- reperfusion using fluorescence two-dimensional difference gel electrophoresis.” Proteomics 3(7): 1318-1324.

Santoni, V., Molloy, M. P., et al. (2000). “Membrane proteins and proteomics: Un amour impossible?” Electrophoresis 21: 1054-1070.

Shaw, J., Rowlinson, R., et al. (2003). “Evaluation of saturation labelling two-dimensional difference gel electrophoresis fluorescent dyes.” Proteomics 3(7): 1181-95.

Skynner, H. A., Rosahl, T. W., et al. (2002). “Alterations of stress related proteins in genetically altered mice revealed by two-dimensional differential in-gel electrophoresis analysis.” Proteomics 2(8): 1018-25.

Tonella, L., Hoogland, C., et al. (2001). “New perspectives in the Escherichia coli proteome investigation.” Proteomics 1: 409-423.

Tonge, R., Shaw, J., et al. (2001). “Validation and development of fluorescence two-dimensional differential gel electrophoresis proteomics technology.” Proteomics 1(3): 377-96.

Ünlü, M., Morgan, M. E., et al. (1997). “Difference gel electrophoresis: a single gel method for detecting changes in protein extracts.” Electrophoresis 18(11): 2071-7.

Zhou, H., Ranish, J. A., et al. (2002). “Quantitative proteome analysis by solid-phase isotope tagging and mass spectrometry.” Nat Biotechnol 20(5): 512-5.

Zuo, Z., Echan, L., et al. (2001). “Towards global analysis of mammalian proteomes using sample prefractionation proir to narrow pH range two-dimensional gels and using one-dimensional gels for insoluble large proteins.” Electrophoresis 22: 1603-1615.